## Slide 1: Calibration Quality Assessment
Precision and Accuracy

## Slide 2: Precision
Reconstruction precision (RP) : is calculated by scanning a point phantom p from different positions and orientations.
  Pont phantom is segmented and reconstructed in 3D space.
  You can reconstruct using several images and also several calibrations.
  It is a measurement of the reconstruction precision of the whole system

## Slide 3: Precision
Calibration reproducibility (CR):Measures the variability in the reconstructed position of points in the B-scan.
The idea is choose same points in the image (center and corners) and map those points to space using different calibrations.
It is a measured solely based on calibration (does not incorporate the position sensor, segmentation, etc…)
It has started to become the norm when precision is measured.

## Slide 4: Accuracy
Point Reconstruction Accuracy (PRA): A point p is scanned and its location reconstructed in 3D space. The 3D location of the point phantom is usually verified by the stylus.
  It is a measurement of the system accuracy. Main error is due to manual misalignment of the scn plane with the point phantom .
  Point should be scanned from different positions and orientations.
  It is bad practice to use the same phantom that was used for calibration to asses its accuracy (location of the point fiducial can’t be dependent on phantom construction (Liu 1998, Chen 2006)).

## Slide 5: Accuracy
Distance Accuracy: It is an easy to set up experiment and was used mainly before the stylus was developed.
A phantom is scanned and reconstructed in 3D space.

## Slide 6: Accuracy
Distance and volume measurements are highly dependent on the scan motion, which in turn is solely dependent on the user. Even so, many papers fail to describe the probe motion when performing such an assessment. This results are unlikely to be meaningful.

## Slide 7: Some results

## Slide 8: Conclusions